Appendix A: supplementary MRI protocols

## Protocol: abdomen

Coil setup: 12 channel Body large

Body setup: Feet first

|  |  |  |
| --- | --- | --- |
| Region | Scans | Coil |
| Head | Localizer 1DWI b0,b1200 | Body coil |
|  |  |  |
| Whole body (standard) | Localizers 2, 3Flair T1w (5 sections)IRFSE-STIR-T2w (5 sections) | Body coil |
|  |  |  |
| Abdomen (high resolution) | Asset calibrationIRFSE-STIR-T2w TE40ms | 12 Channel body |
|  | DWI b0, b800LAVAFlex T1wCube T2w TE 180ms |  |

## Protocol: general

Coil setup: Head-neck-spine (HNS)

Body setup: Head first

|  |  |  |
| --- | --- | --- |
| Region | Scans | Coil |
| Head | Localizer 1Asset calibrationDWI b0,b1200 | HNS |
|  |  |  |
| Whole body (standard) | Localizers 2,3S1-S5 FlairT1wS1-S5 IRFSE-STIR-T2w | Body coil |

## Protocol: Head

Coil setup: Head-neck-spine (HNS)

Body setup: Head first

|  |  |  |
| --- | --- | --- |
| Region | Scans | Coil |
| Head | Localizer 1Asset calibrationSag FSPGR BRAVO T1Sag CUBE DIRDWI b0,b1200Ax SPGR 16e | HNS |
|  |  |  |
| Whole body (standard) | Localizers 2,3S1-S5 FlairT1wS1-S5 IRFSE-STIR-T2w | Body coil |

## Protocol: Head-heart

Coil setup: Head-neck-spine (HNS) + Brachial plexus attachment

Body setup: Head first

|  |  |  |
| --- | --- | --- |
| Region | Scans | Coil |
| Head | Localizer 1ASSET calibrationSag FSPGR BRAVO T1Sag CUBE T2Sag CUBE DIRDWI b0,b1200Ax SPGR 16e | HNS |
|  |  |  |
| Whole body (standard) | Localizers 2,3S1-S5 FlairT1wS1-S5 IRFSE-STIR-T2w | Body coil |
|  |  |  |
| Heart | ASSET calibrationHrt-DWI-b0, b1000 | HNS brachial plexus |

## Protocol: Head, Heart & Thorax

Coil setup: Head-neck-spine (HNS) + Brachial plexus attachment

Body setup: Head first

|  |  |  |
| --- | --- | --- |
| Region | Scans | Coil |
| Head | Localizer 1ASSET calibrationSag FSPGR BRAVO T1Sag CUBE T2Sag CUBE DIRDWI b0,b1200Ax SPGR 16e | HNS |
|  |  |  |
| Whole body (standard) | Localizers 2,3S1-S5 FlairT1wS1-S5 IRFSE-STIR-T2w | Body coil |
|  |  |  |
| Heart | ASSET calibrationHrt-DWI-b0, b1000 | HNS brachial plexus |
|  |  |  |
| Thorax | Trx LAVAFlex T1wTrx T1w FSTrx FS Cube T2w 80ms | HNS brachial plexus |

## Protocol: Head, Heart & Thorax

Coil setup: Head-neck-spine (HNS) + Brachial plexus attachment

Body setup: Head first

|  |  |  |
| --- | --- | --- |
| Region | Scans | Coil |
| Head | Localizer 1ASSET calibrationSag FSPGR BRAVO T1Sag CUBE T2Sag CUBE DIRDWI b0,b1200Ax SPGR 16e | HNS |
|  |  |  |
| Whole body (standard) | Localizers 2,3S1-S5 FlairT1wS1-S5 IRFSE-STIR-T2w | Body coil |
|  |  |  |
| Heart | ASSET calibrationHrt-DWI-b0, b1000 | HNS brachial plexus |
|  |  |  |
| Thorax | Trx LAVAFlex T1wTrx T1w FSTrx FS Cube T2w 80ms | HNS brachial plexus |
|  |  |  |
| Abdomen/Pelvis | Ax Abd LAVAFlex T1wAx Abd FS Cube T2w 120ms | Body coil |

## Protocol: Oncologic: Thorax-Abdomen

Coil setup: 12 channel body coil

Body setup: Feet first

|  |  |  |
| --- | --- | --- |
| Region | Scans | Coil |
| Head | Localizer 1DWI b0,b1200 | Body coil |
|  |  |  |
| Whole body | Localizers 2,3S1-S5 FlairT1wS1-S5 IRFSE-STIR-T2wS1-S7 DWI b0,b100,b1100 | Body coil |
|  |  |  |
| Thorax-abdomen | Body ASSET calBody LAVAFlex T1wBody T1w FSBody IRFSE-STIR-T2w | 12 channel body |

Note.—MRI was performed with a 1.5-T unit (Discovery MR450; GE Medical Systems, Milwaukee, Wis).

## Protocol: Thorax, Heart

Coil setup: 32 channel cardiac coil

Body setup: Feet first

|  |  |  |
| --- | --- | --- |
| Region | Scans | Coil |
| Head | Localizer 1DWI b0,b1200 | Body coil |
|  |  |  |
| Whole body (standard) | Localizers 2,3S1-S5 FlairT1wS1-S5 IRFSE-STIR-T2w | Body coil |
|  |  |  |
| Thorax | ASSET calibrationTrx IRFSE-STIR-T2wTrx LAVAFlex T1wTrx T1w FS | 32 channel cardiac |
|  |  |  |
| Heart | Hrt-DWI-b0, b1000 | 32 channel cardiac |
|  |  |  |
| Coronaries | Corn LavaFlex T1w | 32 channel cardiac |